## Sheet1
Number | Name | Email address | Contact date | Question and/or comment | Topic | Response from Darren, KleanTu and Sealund/Dacey | Response from Town Staff and Town Consultants
1 | Kathryn Gensheimer | Kathryngensheimer@gmail.com | 2024-01-10 | Impact on water and drainage on Ferry St at the curves | Water/drainage |  | Galvin: Water and septic are two issues the Board is reviewing and at this point the peer review is showing that there is ample water for this project and the septic systems are designed to meet and far exceed the local nitrogen standard in this district. The wells are not on this site and are some distance from the project – the site is in an area (Zone II) which is contributory to two wells once the water gets into groundwater. Also about 3000 homes without nitrogen reducing systems in same area.
2 | Kathryn Gensheimer |  |  | Has Audubon Society been contacted re: impact on hawk and owl population | Wildlife | Applicant: We have met with Natural Heritage and have a draft permit for the project's current design. We have not met with Audubon Society. | Galvin: The site is in a priority Habitat of the Eastern Box Turtle (species of special concern) and measures will be require to mitigate impacts there – no scientific evidence of other habitat impacts.
3 | Kathryn Gensheimer |  |  | Soccer field project was stopped; this project is even bigger than soccer project | Soccer field | Applicant: We have revised our grading plan to reduce excess material that must be removed from 500,000± to about 125,000± cubic yards a 75% reduction from the previous proposal and 13% better than the Town's "best case" estimate of 190,000 cy. The topography of the site is challenging. Slopes are relatively flat for the first half of the site coming in off Ferry Street, then rise up sharply almost 50'. Grading plans show that a significant amount of the soils will stay on-site by efficient re-use of soils in fill areas to raise grades to the maximum extent possible. Access to the units across parking lots, sidewalks and the access road are designed to meet handicap accessible requirements as required by the building code. | Galvin: Soccer field was removing well in excess of 500,000 cubic yards of material, flattening the site down to just above groundwater, and there would be fertilizers etc. used to maintain it and parking lots for many cars. That project did not meet applicable standards – this one is under a completely different set of rules.
4 | Joan Appel | joanappel16@gmail.com |  | Claims it is evident there is impact to Little’s Creek aquifer; not convinced there are adequate provisions for protection – wants project scrapped or revised. | Aquifer | Applicant: Septic systems installed will be a minimum of 25' above the aquifer, an increase of 20' over previous application. | Galvin: Not supported by any scientific data at this time.
5 | Beverly Buckley-Herb | beverlyherb@gmail.com | 2024-01-12 | Will a new school be built and new teachers hired; need less students and more teachers | School |  | Galvin: These are two-bedroom units. Not likely to have any material impacts on schools; schools have not provided any data to support that there will be any adverse impact on the town schools. Board is not permitted to condition a project on changing an issue that otherwise effects the town or assess that cost on an applicant. Conditions that have a discriminatory impact on families with children will not be upheld and are beyond the scope of the Board's authority.
6 | Judith Crowley | crowleyjudy@aol.com | 2024-01-14 | Where does the new road join up with the existing bridle trail, the covered bridge area? | Vehicle/pedestrian safety | Applicant: The new road will cross the Bridle Path at a 90 degree angle by realigning that section of the Bridle Path to force vehicles and pedestrians to recognize the crossing with visual and tactile surfaces. | Galvin: The roadway crosses the Bridle Path in a specific location shown on the plans.
7 | Judith Crowley |  |  | Will all of the renters' vehicles converge at the point where people now walk and ride horses to go out to Ferry Street at Pearl's Corner? | Vehicle/pedestrian safety | Applicant: The only change we are proposing at Pearl's corner is a modification to allow more parking as directed by the Trails Committee. No traffic from this project will be exiting or entering at Pearl's corner. See traffic report on file.
8 | Judith Crowley |  | 2024-01-22 | How can petitioners ask to have it both ways - in one instance asking for waivers on remand document and in another saying this is a new request; asking for substantial changes on what was remanded | Waivers | Applicant: Reference to the previous project is for informational use only. | Galvin: This is being handled like it is a new project.
9 | Judith Crowley |  |  | Site plan has housing located on both parcels | Parcel | Applicant: All housing, parking and construction is on 5.86 acres of the 10 acres parcel G12-29-02. | Brennan: Proposed housing is only located on Parcel G12-29-02
10 | Judith Crowley |  | 2024-01-24 | Has applicant submitted evidence showing control of property to be developed as written on page 2 of 6 under Title/Control of Property; has applicant shown the date when control is expected | Control of property | Applicant: An affidavit will be submitted | Galvin: Applicant has represented it has an agreement to purchase the project from Armstrong.
11 | Judith Crowley |  |  | Will earth removal be completed before construction starts | Earth removal | Applicant: See construction management plan. Earthwork will be approximately 50% complete before construction of the first building is started. | Galvin: Earth removal will occur pursuant to a construction management plan that is likely to show earth removal completed or substantially completed before construction of units starts.
12 | Vincent Fallarca | vinpo@verizon.net | 2024-01-14 | Concerned with waiving six specific Zoning Bylaws; claims request for waivers is an assault on bylaw protecting citizens | Waivers | Applicant: In our view the waiver requests are not significant to the safety or health of citizens of Marshfield. All waiver requests have been granted on similar projects elsewhere in Town. | Galvin: The project is before the Board under Gen. L. c. 40B §§20-23 which allows the applicant to seek waivers of local bylaws and regulations that the state considers exclusionary of affordable housing. In addition, the appellate authority for decision by the ZBA when denying or conditioning a project is ordinarily the Housing Appeals Committee, an adjudicatory body of the Executive Office of Housing and Livable Communities. The town typically faces a very high burden of demonstrating that there is an issue with a project that is so significant a matter of local concern that it outweighs the regional need for affordable housing and the town’s track records of winning those arguments is not great. Only where it’s proven that there is a significant issue and that it materially impacts the town will a condition compelling compliance be upheld.
13 | Vincent Fallarca |  |  | Clear threat to the Church Street and Furnace Brook aquifers; claims project will threaten two wells and water supply | Aquifer | Applicant: Design engineers, Town Boards and the Town's consulting engineers are currently reviewing to insure that the aquifer is protected. | Galvin: No expert evidence of impacts from nitrogen from the proposed project to wells submitted.
14 | Vincent Fallarca |  |  | Is a mechanical engineer and critiques the nitrogen loading technology being used (Norweco Hydro-Kinetic Model 1500 FEU wastewater treatment system (due to reliance on electricity). | Nitrogen loading | Applicant: We have submitted an analysis considering a "loss of power" for up to two weeks in the aggregate or one event over a 12-month period. Analysis shows the effluent loading is still significantly under 5 mgl at the property line over the course of a year. The system as designed can run approximately 48 hours with very little drop in performance without power. The system is a gravity flow design with no effluent pumps required. | Galvin: Opinion evidence concerning system is outdated; applicant is utilizing a different system with greater reduction. Power loss can be mitigated with generators.
15 | Jessica Ponyrko | jessica@anchorwatchmarketing.com | 2024-01-16 | Email to Greg Guimond re: abutters to project; answered by Greg Guimond 01-17-24 | Abutters |  | Galvin: This is done by Assessors; Town also publishes notice and posts agendas on website.
16 | Michael Kowaleski | mjkowaleski@verizon.net | 2024-01-19 | Concerned about the potential negative effect on the town's wells and runoff from new paved roads | Water/drainage | Applicant: See consultant's reports, system design will protect aquifer. | Galvin: No scientific data submitted.
17 | Michael Kowaleski |  |  | Concerned about the appearance of conflicts of interest with contractors and some parties involved with oversight | Conflicts of interest | Applicant: none | Galvin: Does not mention names with conflicts.
18 | Michael Kowaleski |  |  | Understands there are alternative sites that could be developed without compromising water supply | Water/drainage | Applicant: No alternate sites available to this developer | No alternative sites submitted.
19 | Robert Perry | bobnjanperry@comcast.net | 2024-01-20 | Has a load analysis been coordinated with Eversource for their ability to provide necessary power to site | Eversource | Applicant: Eversource has reviewed the project in a preliminary manner and there is more than adequate power for this project. | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
20 | Robert Perry |  |  | Will Eversource need to build a substation; who would pay the bill for a substation | Eversource | Applicant: No substation necessary | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
21 | Robert Perry |  |  | If Eversource cannot support the project, who would provide electrical distribution | Eversource | Applicant: Eversource can support the project | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
22 | Robert Perry |  |  | With issues with photovoltaic project at Clay Pit Road, are there electrical distribution issues that are not being addressed | Eversource | Applicant: None that will impact this project. | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
23 | Robert Perry |  |  | Will the distribution transformer and switchgear for power distribution be located on site | Eversource | Applicant: Power distribution systems will be per Eversource requirements, all duct work will be underground, switching and transformers will be located on concrete pads at the surface. | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
24 | Robert Perry |  |  | How will the distribution transformer and electrical switchgear prevent intrusion and be made safe | Eversource | Applicant: All high voltage safety systems controlled by Eversource specification, lower voltage by building code. Bollards will be placed as required by Eversource to protect against vehicles. | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
25 | Robert Perry |  |  | What will be secondary containment system associated with distribution transformer to prevent oil from destroying aquifer | Aquifer | Applicant: Transformers are mounted in a steel enclosure to protect against spills. | Galvin: Issues relating to electric grid and cable/phone and its ability to support the project are not matters for the Board but the utility companies and cable/phone providers.
26 | Robert Perry |  |  | Where will emergency generator be placed on site | Generator | Applicant: At this time we are not proposing any backup generators | Galvin: No evidence of any generator – all transformers or back up power generators will be situated on appropriate bases and be compliant with electrical, plumbing, gas and building codes.
27 | Robert Perry |  |  | What will be fuel source for emergency generators | Generator | Applicant: None expected | Galvin: No evidence of any generator – all transformers or back up power generators will be situated on appropriate bases and be compliant with electrical, plumbing, gas and building codes.
28 | Robert Perry |  |  | How will emergency generator prevent intrusion and be made safe | Generator | Applicant: N/A | Galvin: No evidence of any generator – all transformers or back up power generators will be situated on appropriate bases and be compliant with electrical, plumbing, gas and building codes.
29 | Robert Perry |  |  | What is the sound in decibels associated with the emergency generator | Generator | Applicant: N/A | Galvin: No evidence of any generator – all transformers or back up power generators will be situated on appropriate bases and be compliant with electrical, plumbing, gas and building codes.
30 | Robert Perry |  |  | Is there a need for mobile plug generator receptacle for when emergency generator is nonoperational and where would plug be placed; what is sound in decibels associated with mobile plug | Generator | Applicant: N/A | Galvin: No evidence of any generator – all transformers or back up power generators will be situated on appropriate bases and be compliant with electrical, plumbing, gas and building codes.
31 | Robert Perry |  |  | Where will Electric Vehicle Spaces be on site | EV/parking | Applicant: Spaces for electric charging will be located as appropriate
32 | Robert Perry |  |  | Where will electrical distribution raceways to the EV Spaces be located | EV/parking | Applicant: All electrical and communication lines will be underground
33 | Robert Perry |  |  | Has there been any Electrical Load Analysis no future demand for mostly electric vehicles on site and can Eversource support future needs | EV/parking | Applicant: Eversource has given preliminary approval with no limitations anticipated | Brennan: All questions from Robert Perry related to electric supply and Telcom communications are under the jurisdiction of the private utility suppliers and are not relevant to the Town permitting of the project.
34 | Robert Perry |  |  | Is project providing any renewable energy sources (solar panels, battery storage, wind turbines, etc.) or will project be reliant on existing Eversource distribution system | Renewable energy | Applicant: None planned at this time
35 | Robert Perry |  |  | Who will be communications broadband provider | Communications provider | Applicant: Comcast
36 | Robert Perry |  |  | Has broadband provider been notified of proposed development and can they support it | Communications provider | Applicant: Comcast can support project as designed
37 | Robert Perry |  |  | Where will main distribution frame be located to be free from vandalism and unauthorized access | Vandalism | Applicant: Ground based pedestals at each building with tamper-proof enclosures
38 | Robert Perry |  |  | Will there be CCTV cameras on site to monitor the site and its residents; if so, will they need to be monitored by town employees | CCTV | Applicant: None planned
39 | Robert Perry |  |  | Will there be a community garden to feed and nurture the residents; if not, how will they eat if they cannot afford to | Community garden | Applicant: Space is provided near the office for community wide use. | Galvin: No community garden on plan; Board presumes that future residents will purchase their food from supermarkets and stores or delivery providers.
40 | Robert Perry |  |  | Will street lights, traffic lights sidewalks and intersection be created to safely handle vehicle and pedestrian traffic around entrance/exit of site | Vehicle/pedestrian safety | Applicant: Traffic analysis finds no need for off-site improvements, minor changes to project entrance as recommended by Town consultant have been added to plans. | Galvin: Traffic is being peer reviewed and street appears to have capacity; Board will determine appropriate conditions for entrance, exit and accessway including crossing Bridle Path. Bridle Path is crossed by Ferry Street, Clay Pit Road, South River Street currently.
41 | Robert Perry |  |  | Will there be speedbumps to prevent speeding and drag racing on entrance/exit road | Vehicle/pedestrian safety | Applicant: Traffic calming surfaces and signage is proposed on plans at entrance. | Galvin: Traffic is being peer reviewed and street appears to have capacity; Board will determine appropriate conditions for entrance, exit and accessway including crossing Bridle Path. Bridle Path is crossed by Ferry Street, Clay Pit Road, South River Street currently.
42 | Robert Perry |  |  | Who will pay for increased costs needed for Police Dept., Fire Dept. and Emergency Medical Services | Increased costs | Applicant: Tax base | Galvin: The Board cannot assess cost of additional police, fire or teachers to this project. Any expense will be offset with increased real estate and property taxes.
43 | Robert Perry |  |  | Who will pay for increased costs for the increase of all the new students in Marshfield schools | Increased costs | Applicant: Tax base | Galvin: The Board cannot assess cost of additional police, fire or teachers to this project. Any expense will be offset with increased real estate and property taxes.
44 | Robert Perry |  |  | Will the costs of all above mentioned items be passed on to the taxpayers or will they be the responsibility of the proposed developers | Increased costs | Applicant: Tax base | Galvin: The Board cannot assess cost of additional police, fire or teachers to this project. Any expense will be offset with increased real estate and property taxes.
45 | Laura Olson | olsonfam5@verizon.net | 2024-01-24 | submitted list of closed landfills including on abutting parcel (98 pages, January 2017) for review prior to meeting; Sylvester Ray, 120 Clay Pit Rd. is not lined; possible source of contamination of water supply; suggests that it is a potential source of pollution to wells. | Closed landfills | Applicant: This project will no effect on the adjacent landfill. | Galvin: No information on impacts to wells submitted; was a post closure report which is done on a regular basis.
46 | Carolyn Gray | carvingbirdcg@gmail.com | 2024-01-26 | Aquifer - should not be any percentage of risk to drinking water; Peter Armstrong needs to find a new way to make money off this land; Board should protect residents but instead turning back on them and selling out water source; in WRPD, why have regulations if they can be disregarded; what does Marshfield owe Peter Armstrong to be so open to putting drinking water at risk; how does this benefit tax-paying residents | Aquifer | Applicant: Project will meet all requirements Town of Marshfield consulting engineers for aquifer protection, drainage, and design. | Galvin: No scientific data on aquifer impacts submitted
47 | Carolyn Gray |  |  | Traffic - dangerous area for drivers and pedestrians, multiple street, driveways and recreation in proposed development; no sidewalks on Ferry St. and road is narrow an winding; road wear from increase in dump trucks and equipment, who will pay for repairs | Vehicle/pedestrian safety | Applicant: Truck traffic will be directed to Clay Pit Road minimizing wear and tear on Ferry Street. All truck weights and tire spacing will meet MDOT specifications and limits. Trucks will be using roadways that are sized and constructed to support the heavy manufacturing and industry that currently exist on Clay Pit Road. | Galvin: Traffic impacts being assessed for the Board by its own experts.
48 | Carolyn Gray |  |  | Septic system - how will monitoring and maintenance be enforced to ensure ground water won't be polluted; septic system of 10 mg/l treatment level is not enough, 0 mg/l should be only goal | Septic | Applicant: We are using "best in class" de-nitrogen designs. Additionally, the septic systems are separated into 8 distinct systems which creates redundancy and minimizes a system wide failure. | Galvin: 3 ppm is 2 ppm better than the town standard which is 5 ppm in a nitrogen sensitive area. 0 is not attainable.
49 | Carolyn Gray |  |  | Landscaping - lawn and irrigation system not necessary; herbicide chemicals used in keeping lawn green end up in water supply and can't be controlled; who will ensure herbicide/fertilizer is not used; we should all be working towards going "Green"; who will pay for landscape maintenance; will cost be part of rental fee; low-income renters will not be able to afford this | Landscaping | Applicant: Landscape maintenance will be managed by a management company. | Galvin: Site is an apartment complex and will be managed by management company.
50 | Carolyn Gray |  |  | Earth removal - earth should remain in area so housing is as high as possible above the clean aquifer; earth removal not necessary for this project; earth removal is not allowed in residential zone | Earth removal | Applicant: See comment line 3 above…earth removal is minimized with exceptional design to take best advantage of existing topography | Brennan: Earth removal has been reduced from over 500k c.y. to less than 125k c.y.
51 | Carolyn Gray |  |  | Affordable housing - since project is away from shopping and school area, how will the residents access those areas; usually families of low-income have only one vehicle or no vehicle; will public transportation be available specifically for this complex for example, transportation for the senior center | Transportation | Applicant: Individuals are expected to have personal vehicles, adequate parking designed for same. | Galvin: Residents are expected to rely on vehicles.
52 | Carolyn Gray |  |  | Wildlife - how will existing wildlife be protected now and in the future; Eastern Box Turtles are protected and endangered; this was one reason soccer fields not approved; has applicant considered displacement of other wildlife and impact this will have on residents | Wildlife | Applicant: We have met with Natural Heritage and have a draft permit for the project's current design. | Galvin: Wildlife impacts are being managed by NHESP which has to issue a Conservation and Management Permit for this project.
53 | Mary Taylor | marytaylorart@gmail.com | 2024-01-30 | Concern about Right of Way and property conveyance | Control of property | Applicant: ROW is secure, property is under P&S Agreement with applicant.
54 | Maureen Purcell | stopethebigdig@gmail.com | 2024-02-04 | Please refer to email - many questions re: NitROE Waste Water Treatment System, Provisional Use Approval Renewal, emergency standby power source, extension of Town's septic system to site in future, surveillance testing/preventive maintenance of emergency power source | Waste Water technical questions - see email | KleanTu: Not sure what email is referenced, but some answers provided below for other questions. Provisional approval can either be renewed or replaced with a General Use approval; this is up to DEP. Provisional permit requires quarterly inspection & sampling of each NitROE system. The proposed systems are gravity flow and no standby power is required. The system will function as a conventional septic systems when power is lost. Septic treatment proposal is complete as shown on plans. Applicant: Final designs have been submitted to the BOH for 3 buildings and the other 5 coming.
55 | Maureen Purcell |  |  | Submission says study for protecting the box turtle says it was revised in November 2023 but there are no revision notations as to what was updated; what was updated in the study and who updated it; does the Conservation Commission agree; has anything changed in the plan to protect this endangered species | Wildlife | Grady: The "2023" designation was added to the report for this application. The Conservation Commission does not have jurisdiction on this project. Applicant: We have met with Natural Heritage and have a draft permit for the project's current design. A full report is on file with Board, there are only minimal changes to original permit.
56 | Maureen Purcell |  |  | If previous 2017 approval of a smaller project was tenuous, what has changed today to make a larger project safer for community | Previous approval | Applicant: New drainage, septic and grading plans have significantly improved the project from previous submission, project provides more affordable units available to the community. | Brennan: The previous, approved project has fewer residential units but four times the amount of earth removal.
57 | Maureen Purcell |  |  | Beyond experts who take a few soil samples and use statistical models to guess at what the water quality impact might be, what steps will the ZBA take to ensure the safety and long-term health of the community; what studies can the ZBA require; what actions can it take; what resources can it expend, what state bodies can it appeal to; what federal bodies can it appeal to; why is there an apparent rush to make a decision; should take as much time as necessary to guarantee this proposed development will not have adverse impact on community | Water/drainage | Applicant: Project design meets or exceeds requirements. | Brennan: The Nitrogen loading analysis was prepared using the Marshfield Planning Board's calculation and it was peer reviewed by the Planning Board's water scientist, which is consistent with every project located within the WRPD. The stormwater system is designed to meet the MassDEP Stormwater Standards as well as the Marshfield Planning Board's Rules & Regulations.
58 | Laura Olson | olsonfam5@verizon.net | 2024-02-05 | Will each unit have laundry hookup or would there be a central location for washer/dryer service | Laundry | Grady: Laundry systems are included in the design flow for the project.
59 | Laura Olson |  |  | Will use of heavy equipment for earth removal compromise the capped Sylvester Ray landfill | Earth removal | Applicant: Earth moving equipment will not impact the adjacent landfill, Town is installing additional monitoring wells. | Brennan: Heavy equipment utilized for this project would not be excavating within the former landfill property.
60 | Laura Olson |  |  | What is actual date of application for project. Modification was dated 11/15 which would show a 6 month end date of 05/15 but at December meeting Town Counsel said a new application needed to be filed as it was a completely different project which would bring end date to June; no copy of this on webpage | Application date | Applicant: Application date November 15, 2023 | Application date November 15, 2023
61 | Laura Olson |  |  | How is the septic system proposed on the plans acquired; according to manufacturer it must be applied for in advance and presented to DEP for approval; only those certified/trained are allowed to install; has builder been approved/certified to install | Septic | KleanTu: NitROEs up to 2,000 gpd do not need DEP approval, only Board of Health approval. The NitROE is manufactured in MA and any licensed installer can be trained to install it. Currently, KleanTu installs all of its NitROE systems with the assistance of licensed installers. Per a requirement of the Provisional Permit, an installer certification is sent to the owner and the design engineer so they are aware that the NitROE will be installed by a licensed installer under the supervision of KleanTu. | Brennan: The contractor that installs the septic system will be required to be certified to do so.
62 | Laura Olson |  |  | According to site plan, runoff is shown to process through a chamber and then dispersed onto a 5 acre lot; that lot (H12-01-09B) is the same lot number shown to be transferred to the Town of Marshfield; also a note that 5 acre lot is designated for box turtle habitat; are these different stages from changes made to the proposal over the last month | Water/drainage/wildlife | Applicant: See Brennan comments | Brennan: Runoff from the roofs and roadway within the proposed development is proposed to be infiltrated. Runoff from a portion of the entrance road will discharge into the Town's drainage basin on Parcel H12-01-09B, as does runoff from Ferry Street and a portion of Silver Pines.
63 | Laura Olson |  |  | What is correct use of lot H12-01-09B | Use of lot | Applicant: See Brennan comments | Brennan: It will be preserved in accordance with NHESP requirements. It is also being used as credit land for the nitrogen loading analysis, which is allowed provided the land is not developed.
64 | Laura Olson |  |  | In response to peer review issues, D. Grady states in the NHESP report that under conservation agreement to applicant from 02-16-2010 and in an email 12-06-2016 that a similar plan for the 5+ acre lot would be implemented. Part of this proposal shows a fee of $25,000 - would that be paid by the applicant or passed on to the Town when the parcel ownership is transferred; who would be responsible for future inspection feeds of the habitat property | Wildlife and fee | Grady: The $25,000 fee is to be paid by the developer of the project. Once the project is complete, future responsibility will be the owners, heirs, and successors.
65 | Laura Olson |  |  | Is the covered bridge for pedestrian use only; does the structure serve any relevant purpose as it appears to interfere with the sight line of anyone walking through it; not useful to those walking or horseback riding | Vehicle/pedestrian safety | Applicant: It is our view that the covered bridge structure will better delineate the crossing. | Brennan: The covered bridge is proposed to proved a visual intersection for vehicles traveling to the development and pedestrians, horseback riders, etc. traveling along the bridle trail. The structure is proposed to slow vehicles and alert them to the potential for people/horses crossing the entrance road.
66 | Laura Olson |  |  | Will management of units monitor what is placed in the septic systems by residents (medications, cleaners, wipes, etc.) as residential contaminants come into wells by septic systems generally are hazardous chemicals, microbial contaminants and improper disposal per Town of Marshfield annual water quality report | Septic | KleanTu: All septic systems are sensitive, whether Title 5 conventional or innovative/alternative. Systems should be treated with care by residents or costly clogging & backups into buildings could occur. Such disruptions disturb the biological nitrogen removal treatment process as well. Management can post signage on proper care of the septic systems (provided in the Monitoring, Operations and Maintenance (MOM) manual provided by KleanTu) and could also charge residents for required repairs due to improper use of and disposal to the systems. Expensive repairs result in self/peer-policing. Applicant: Residents will be instructed as appropriate. The septic systems are designed to collect waste from each building separately and will provide a margin of safety over a single large system.
67 | Laura Olson |  |  | If property were to become available for purchase would the Town have right of first refusal; could CPA funds be used for this | Town purchase of property
68 | Laura Olson |  |  | Why isn't town calling in state senators, congressmen and representatives or experts from DEP, NHESP, WRPD and other government agencies to help protect residents and businesses; per 02-07-2022 Duxbury Select Board minutes re: Holtec, they invited Senator Warren, Senator Markey, Congressman Keating, Senator O'Connor, Representative Cutler and more; showed residents and business owners of Duxbury that town concerned about their well-being | Help from govt officials/agencies | Applicant: See project matrix and how it compares to other projects in Marshfield as to density and design. | Brennan: The ZBA is relying on experts for peer review of various aspects of the project. Chapter 40B is a contentious program for many communities but there is little that can be done to stop it.
69 | Laura Olson |  |  | Any reason why a contractor, who has been before the board for an earth removal permit and plans for a soccer field, condominiums and now apartment buildings, none of which have ever followed through, would be given greater consideration to remove the natural filtration of a water resource | Earth removal | Applicant: This project is proposed by new applicants with substantial experience and track record and is a vastly superior design. | Brennan: There is substantially less earth removal proposed under the current project.
70 | Justin Silva | jsilva2624@hotmail.com | 2024-02-05 | What, if any, research has been done in regard to Native and colonial history; good chance this land was used for burials for Native and colonial people; shame on Marshfield if an unnecessary building project is more important than the sacred land of Natives | Native/colonial history | Grady: The project went through the MEPA process in 2007 which includes a review for historical and archaeological resources. No historical and archaeological resources were confirmed through this process. | Brennan: If the project will receive any state or federal funding, the Applicant will be required to file a Project Notification Form with the Mass Historical Commission (MHC). MHC will determine whether the project may affect any significant historic or archeological resources.
71 | John Romero | townecountry1@gmail.com | 2024-02-05 | Has Board reviewed the innovative/alternative septic system technology Nitroe by KleanTU LLC that Grady Engineering wants to use; is Board comfortable with this system and why | Septic | KleanTu: KleanTu has not yet presented to the Board. The Board has to answer if they are "comfortable with this system and why". | Brennan: John Smith from KleanTu will be available to answer questions at the March 12, 2024 public hearing.
72 | John Romero |  |  | Does Board know if it's still in its provisional use approval with DEP under Title 5 | Septic | KleanTu: Yes, NitROE is still under provisional use approval. Grady: The system is approved for provisional use. The approval has been submitted to both the ZBA and Board of Health
73 | John Romero |  |  | Explain for the record that Provisional Use approval is intended for evaluations of alternative systems technically capable of providing levels of protection at least equivalent to those of a standard onsite disposal system | Septic | KleanTu: Yes, that's is correct. The NitROE is designed to provide at least the same protection as a standard onsite disposal system. Under the provisional permit the goal is to meet best available technology standards for nitrogen removal (<11 mg/L TN on average) to exceed levels of protection provided by conventional septic systems as well as some other I/A systems. Grady: The system is approved for provisional use. The approval has been submitted to both the ZBA and Board of Health
74 | John Romero |  |  | Does Board know how many of these systems are installed in Massachusetts; how many and how long; if they can't find it they resident will let them know | Septic | KleanTu: 110 systems installed in MA since Dec. 2016
75 | John Romero |  |  | Does Board know what applications these systems are installed under; single resident, multi family, single condo or apartments | Septic | KleanTu: All of the above with majority being single family. Flows of 220 gpd to 9,750 gpd. Grady: Applications are generally flow based for residential uses. The flow for these systems are shown on the plans.
76 | John Romero |  |  | Please provide an installation site similar to proposed Bridle Crossing | Septic | KleanTu: Navigator Green Homes, Edgartown, MA - 5 homes with 13-bedrooms each; 1,950 gpd/building (9,750 gpd total); to be built in 2024
77 | John Romero |  |  | Will Board check to see if these septic systems have been used in a complex that is 8 buildings serving 56 apartments on top of a town's aquifer since alternative septic systems are in provisional/trial stages | Septic | KleanTu: This is the first application of the NitROE in a water supply protection area. Others have been installed in natural resource areas for protection of n-impaired waterbodies. Goal of nitrogen removal is the same. Grady: KleanTu has confirmed that the system will provide the level of treatment necessary for this development.
78 | John Romero |  |  | Does Board know that KleanTu with Nitroe waste water treatment system was approved by DEP on May 12, 2020 and expires on May 12, 2025; does Board know amount of units that need to be installed before they get general approval | Septic | KleanTu: The 50th NitROE was installed in June 2022. At least three years of performance data for over 50 systems will be generated by May 2025. It is up to DEP to issue the General Use approval. KleanTu cannot predict when this will occur, but is hopeful it will be issued by 2025. Grady The provisional use approval allows for greater than 50 systems to be installed.
79 | John Romero |  |  | Does Board know John Smith on KleanTu LLC spoke on 12/12/2019 to West Falmouth water quality management committee stating average total nitrogen from Nitroe is 5.5 mg n/l; John Smith estimates life expectancy of system to be 20 years | Septic | KleanTu: Currently, the average total nitrogen (TN) removal for 70 installed NitROEs is 9 mg/L or 91% TN removal. The median TN removal for the same 70 NitROEs is 5 mg/L TN or 94% TN removal.
80 | John Romero |  |  | Are ZBA, Board of Health and water department okay with this being built directly on an aquifer | Aquifer | Grady: An application has been submitted for the ZBA to approve. The ZBA has plans to circulate to the town departments. Applicant: There are over 3,000 properties on the aquifer.
81 | John Romero |  |  | Does Board know about recent PFAS contamination shutting down a well in Duxbury in 2021; Dr. Laura Schaider of the Silent Spring Institute gave presentation that over 14 percent of public water supplies in Mass. have exceeded state standard | PFAS | Grady: This question is not about Bridle Crossing. Applicant: We have asked for a waiver of the PFAS requirement as the building industry is just beginning to reconcile with alternatives.
82 | John Romero |  |  | Does Board know total cost of treating all 12 wells in Duxbury will cost between $70 and $100 million; and the years it will take to get the wells back | Well treatment | Grady: This question is not about Bridle Crossing
83 | John Romero |  |  | Does the Board think this is an improvement of the land there above the aquifer providing natural filtration or would it be better to build an 8 building, 56 apartments, 88 bedroom, 133 parking spaces and 8 trial septic systems to provide 14 affordable apartments and will fall short of 40B numbers in 1-2 years | Aquifer | Grady: The ZBA is in the process of determining this question
84 | Jessica Ponyrko | jessica@anchorwatchmarkeing.com | 2024-02-05 | Please describe full extent of aquifer and what communities and their water supplies could potentially be at risk if development results in contamination of aquifer | Aquifer |  | Brennan: The aquifer under this project is fully within the borders of the Town of Marshfield.
85 | Jessica Ponyrko |  |  | Is proposed treatment technology for the sewage appropriately licensed in MA? Has it been proven to be fit for purpose when utilized on similar applications in the USA and if so, where can supporting data be found | Septic | Klean Tu: Yes, the NitROE is certified under provisional use approval by Mass DEP for use in MA and is appropriate for use at Bridle Crossing. You can also visit the website https://www.masstc.org/technologies. This a clearing house for for the Cape and Islands by the Massachusetts Alternative Septic System Test Center (MASSTC). Applicant: Please see comments above, additionally representatives form KleanTu will be at the hearing on the 12th. | Brennan: The proposed septic system has provisional approval from MassDEP.
86 | Jessica Ponyrko |  |  | Could the development potentially compromise the buffer zone and clay cap currently protecting the site | Buffer zone/clay cap protection | Applicant: The development will not impact the adjacent landfill which is now a solar array field. | Brennan: There is no excavation proposed on the landfill property.
87 | Jessica Ponyrko |  |  | Has an environmental impact study been undertaken, sufficient to meet the standards/guidelines specified by EPA and DEP that addresses all risks and issues associated with this development | Environmental impact study | Grady: The project went through the MEPA process in 2007 which includes a review for historical and archaeological resources. No historical and archaeological resources were confirmed through this process. | Brennan: The project has been peer reviewed for compliance with Federal, State and Town standards related to the WRPD.
88 | Jessica Ponyrko |  |  | Does proposed development plan include development of an array of sampling wells to monitor the quality or water in the aquifer and provide for the capital and operating costs | Aquifer | Applicant: All the new septic systems will be monitored quarterly with copies of reports sent to DEP. The Marshfield DPW has authorized a Environmental Partners to evaluate the state of the landfill and install wells to monitor same.
89 | Ben Bembenek | bembenek2@yahoo.com | 2024-02-06 | Has impact to landfill been addressed in engineering plans | Landfill | Applicant: There is no impact on the landfill. | Brennan: There is no excavation proposed on the landfill property.
90 | Ben Bembenek |  |  | Would removal of sand/gravel impact the aquifer or the 3 town wells mentioned at last meeting; concern being leakage from landfill during heavy rainstorm leaching into aquifer | Aquifer | Applicant: There is no impact on the landfill. | Brennan: There is no removal of gravel proposed for the landfill property.
91 | Ben Bembenek |  |  | What protections will be in place to prevent damage to the aquifer; concern being underground erosion | Aquifer |  | Brennan: The project has been peer reviewed for compliance with Federal, State and Town standards related to the WRPD.
92 | Ben Bembenek |  |  | Any town boards expressed a formal concern to MASS DEP re: threat to town's water supply | Water/drainage | Applicant: Town DPW has contracted with a consulting firm to study ground water under the around the landfill.
93 | Ben Bembenek |  |  | DPW expressed desire to engage appropriate water/engineering consultants to perform an independent/unbiased study of this project | Water/drainage | Applicant: Town DPW has contracted with a consulting firm to study ground water under the around the landfill.
94 | Ben Bembenek |  |  | Has Town Administrator considered that there are other upcoming 40B projects in the works that could mitigate the need to meet 40B requirements as they would be met from those other projects | Future 40B projects |  | Brennan: Potential "future" 40B projects have no impact on the current proposal.
95 | Cheryl Mezzetti | cheryl@tobiashearing.com | 2024-02-06 | Concern about the impact on the aquifer | Aquifer | Applicant: Peer review underway | No scientific data on aquifer impacts submitted
96 | Cheryl Mezzetti |  |  | Urge the Board to prioritize well-being and health of residents over profit and potential revenue | Health over profit
97 | Cheryl Mezzetti |  |  | Allowing development to proceed Board is turning its back on the community | ZBA turning back on residents
98 | Cheryl Mezzetti |  |  | Concern about the increase in traffic | Vehicle/pedestrian safety | Applicant: Traffic analysis has been submitted and the additional traffic from this project is too little to have impact.
99 | Cheryl Mezzetti |  |  | Concern about the impact on the environment, specifically pollution of groundwater through septic systems; believes goal should be 0mg/l of pollution | Septic |  | Galvin: 3 ppm is 2 ppm better than the town standard which is 5 ppm in a nitrogen sensitive area. 0 is not attainable.
100 | Judith Whitcher | judithwhitcher@yahoo.com | 2024-02-06 | Concern about the future of drinking water | Water/drainage |  | No scientific data on aquifer impacts submitted
101 | Judith Whitcher |  |  | Concern removal of sand will contaminate wells | Water/drainage |  | No scientific data on aquifer impacts submitted
102 | Judith Whitcher |  |  | Does not believe the project needs removal of earth | Earth removal | Applicant: See #3 above
103 | Judith Whitcher |  |  | Does the person /company pulling permit own the land | Control of property | Applicant: We have a purchase and sales agreement to buy the land from Peter Armstrong. | Galvin: Applicant has represented it has an agreement to purchase the project from Armstrong.
104 | Judith Whitcher |  |  | Understanding is that septic system cannot work more than 2 days in a power outage; will they be required to install generators to protect pubic health and aquifer | Septic
105 | Judith Whitcher |  |  | No use for covered bridge that horses may not be able to cross; bikers and pedestrians have no use for a man-made covered bridge | Vehicle/pedestrian safety | Applicant: We believe the covered bridge will slow down vehicles and provide a distinct and clearly visible crosswalk for pedestrians, bicycles and horses. | Brennan: The bridge is proposed to slow vehicles for the safety of bridle trail users.
106 | Judith Whitcher |  |  | Will the project put a curve in the bridle path | Vehicle/pedestrian safety | Applicant: Yes, the Bridle Path will curve to intersect to project road at 90 degrees. | Brennan: Yes, the bridle trail will be realigned to provide safer passage for users of the bridle trail.
107 | Judith Whitcher |  |  | Proposed road/exit should not cross the bridle path | Vehicle/pedestrian safety | Applicant: The current design must cross the bridle path to legally access a town way. | Brennan: There is a right-of-way that allows the landowner to cross the bridle trail.
108 | Barbara McGloin | mc7clan@me.com | 2024-02-06 | Concern about Board member's relationship with Peter Armstrong; recusal | Conflicts of interest
109 | Douglas Little | jandd.little@gmail.com | 2024-02-08 | Concerns from email 5/3/2017; residents were advised to submit suggested conditions | Previous approval
110 | Douglas Little |  |  | Condition #1: No evidence has been presented that the existing sand, gravel, or other earthen materials on the site impedes the construction of those housing units in any way that would require their removal from the site. Given that fact, no sand, gravel, or other earthen materials shall be allowed to be taken from the site of the project. | Previous approval-suggested conditions | Applicant: See #3 above. The design has been maximized to lessen the amount of gravel as much as possible and still provide handicap accessible parking and access to the units.
111 | Douglas Little |  |  | Condition #1: Material can be moved from one part of the lot to another as needed to enable construction of the driveway between the housing units and the right of way to Ferry Street as well as impact minimization and mitigation efforts for the protected species of concern on the site, as directed by the Division of Fisheries & Wildlife. However, any regrading of the site should be done in such a way as to minimize the need to do any compaction or other site work on the areas where the housing units will actually be constructed. | Previous approval-suggested conditions | Applicant: The road and construction profiles were adjusted to minimize excess materials and retain as much as possible on-site.
112 | Douglas Little |  |  | Condition #1: The above will expedite the construction of the project’s affordable housing and protect the health and safety of the people in the residential zone. This is consistent with the two prior decisions by the Marshfield Board of Selectmen denying previous applications for Earth Removal permits under (ARTICLE TWENTY - Earth Removal) of the General By-Laws. This condition will also help minimize both unnecessary traffic on the bridle path and unnecessary noise throughout nearby residential neighborhood. Worth noting that the permit application does NOT ask for a waiver from either (ARTICLE FORTY - Motor Vehicles on Bridle Path) or (ARTICLE SIXTY FIVE - Anti-Noise) of the Town of Marshfield General By-Laws. Granted, the applicant reportedly has a right-of-way to cross the bridle path but it would still be reasonable to expect that every effort should be made to keep such motor vehicle crossings to a minimum. | Previous approval-suggested conditions | Applicant: The design as presented minimizes impact on the Bridle Path as much as possible while providing access to the site. Construction trucks will use the Clay Pit Road access until project is completed.
113 | Douglas Little |  |  | Condition #2A: If the applicant or any contractors, subcontractors, employees, managers working on the site of the project are found to not be adhering to any conditions of the Comprehensive Permit all work must cease until the applicant and the Marshfield Zoning Board of Appeals reach an agreement on measures to prevent any further non-compliance. | Previous approval-suggested conditions | Applicant: Project will be under the supervision of Town Boards and Divisions as applicable.
114 | Douglas Little |  |  | Condition #2B: Applicant will post a surety bond that will be forfeited if the applicant or any contractors, subcontractors, employees, managers working on the site of the project are found to not be adhering to any conditions of the Comprehensive Permit. Upon such forfeiture, all work must cease until the applicant posts another surety bond. Such bonds should be of an amount sufficient to address remedial measures which may be necessary because of the non-adherence to the permit. | Previous approval-suggested conditions | Applicant: Project will comply with all typical projects in Marshfield with respect to surety of completion.
115 | Douglas Little |  |  | Condition #3: Residents, managers, and maintenance staff of the completed housing and any other facilities on the site of the project are prohibited from using products identified by the manufacturer of the Wastewater Treatment System that would void the system’s warranty. Those products include but are not limited to restaurant degreaser, cleansers, wax strippers for linoleum, carpet shampoo, waste products, or any other toxins as well as water softener brine discharge. This helps ensure that the project meets the requirements of Section 13.03 – Water Resource Protection District of the Zoning Bylaws. Before the final condition is written the manufacture of the Wastewater Treatment System should be asked for any specific products they are willing to help identify that should be banned. | Previous approval-suggested conditions | Applicant: This developer and any future manager will enforce all regulations imposed in the Zone II and will communicate same to residents.
116 | Douglas Little |  |  | Condition #4: All earth moving work shall not begin until after 9 a.m. The plan states truck traffic would start at 7:00 am presumably that means extremely noisy earth moving equipment would be operating in a R1 zone long before that. ARTICLE SIXTY FIVE - Anti-Noise of the Town of Marshfield General By-Laws. | Previous approval-suggested conditions | Applicant: Recognizing that this project is a construction site the buffer areas surrounding same are generous and will provide adequate abatement when under way. All work times will comply with Marshfield By-Laws.
117 | Douglas Little |  |  | Condition #5: No trucks or construction equipment shall be allowed to queue up or idle nearby before 9 a.m.. The first individual pieces of equipment can be end route after 8:30 a.m. but should not arrive on site before 8:45 a.m. ARTICLE SIXTY FIVE - Anti-Noise of the Town of Marshfield General By-Laws. | Previous approval-suggested conditions | Applicant: All work times and noise pollution will comply with Marshfield By-Laws.
118 | Douglas Little |  |  | Condition #7: A suitable recreation area with playground equipment and a grassy play area will be constructed for the benefit of the tenants. | Previous approval-suggested conditions | Applicant: An area near the office is designated for common use by residents.
119 | Douglas Little |  |  | New comments, questions and concerns:
120 | Douglas Little |  |  | Discussion at the public hearing about making the angle that the access to the site enters Ferry Street to be closer to a 90 degree angle but I don’t find anything in the plan that shows that. | Vehicle/pedestrian safety | Applicant: We will comply with peer review recommendations. | Brennan: Traffic is being peer reviewed and the peer review has indicated that, with the removal/maintenance of overgrown vegetation, there is adequate sight distance at the proposed intersection with Ferry Street.
121 | Douglas Little |  |  | The ZBA June 2017 Decision on the application stated specifically that “Although the Applicant seeks permission to excavate and remove 355,000 cubic yards of earth from the site, the Board is authorizing excavation and removal of only so much sand and gravel as is reasonably necessary,”. The current application does nothing to address how much sand and gravel removal is necessary. In fact most of the area currently above 110’ elevation is fairly level and could be built on without removing any sand and gravel from that part of the site. That part of the site has 3 housing buildings and 3 garages shown on it. I remind the Board of the 3D cardboard models I submitted to them 7 years ago. | Earth removal | Applicant: See #3 and #112 above
122 | Douglas Little |  |  | It appears to me from the contour lines shown for the completion of the project that a serious error in approximating the amount of cut and fill. The contour lines appear to be similar to the original 2017 project plan which had significantly higher estimates. | Earth removal | Applicant: The proposal shows grades raised by as much as 27' over 2017 plan.
123 | Douglas Little |  |  | Sheet 8 shows 148,380 cu.yd. cut and 24,137 cu.yd. fill for 124,243 cu.yd. net but sheet 13 shows 150,00 c.y.(165,000 c.y. with 10% expansion. What number is correct? | Earth removal | Applicant: The total cuts are 148,380 cy less total fills of 24,137 cy which leaves an excess borrow of 124,243 cy. That materials will have to be removed from the site. Typically calculating swell at 10% when loaded onto trucks yields 136,667 cy of excess material. Swell is not applicable to the 24,137 cy of fill materials.
124 | Douglas Little |  |  | The stormwater Management Design Calculations provide 442 Pages but No overall summary. | Water/drainage |  | Brennan: The Stormwater Management Design Calculations have been peer reviewed to confirm compliance with local, state and federal regulations.
125 | Douglas Little |  |  | Even though the application mentions trapping debris and reducing oil from the site runoff could find nothing indicating any concern about dissolved chemicals being fed directly into our best water supply aquifer. Again, I ask that everyone residents, managers, and maintenance staff of the completed housing and any other facilities on the site of the project are prohibited from using products containing harmful chemicals. | Aquifer | Applicant: The use of harmful chemicals will not be allowed on this site. Residents will be provided with a list of prohibited products. Quarterly monitoring of the septic effluent will ensure compliance. Eight separate and distinct septic systems will further insure that any issues can be contained. | Brennan: There are over 3,000 properties within the aquifer. Everyone within the aquifer should strive to protect it and refrain from using harmful chemicals.
126 | Douglas Little |  |  | The site is far from any public transportation which I believe is highly desired by the State for 40B projects. | Transportation | Applicant: Project is 1-3/4 miles from Roche Bros., 2 miles from Marshfield Famous Pizza, and 3 miles to the Rte. 3 on-ramp which puts it in the almost exact geometric center of Marshfield.
127 | Douglas Little |  |  | The project is located on a part of Ferry Street which has had a great number of accidents over the years. Many have occurred on my specific property. | Vehicle/pedestrian safety | Applicant: Traffic report indicates the roadways and intersections immediately surrounding this project are more than adequate to service same.
128 | Douglas Little |  |  | The transportation issues and the unattractive bowl shape proposed for the site lead me to believe that the rental rate could be low enough to mean that the project will fail but only after a massive amount of sand and gravel is removed and sold for a nice profit first. An operating fund and or protection from low occupancy fund should be created using all sales of sand and gravel from the site. | Earth removal | Applicant: We don’t agree, preliminary analysis by our team indicate a strong market for this type of townhouse multifamily construction.
129 | Douglas Little |  |  | Even though there is a front elevation plan shown for the garage I couldn’t find one for the actual housing units. | Garage | Applicant: Architectural plan set for the buildings are on a separate plan set filed with the ZBA. | Brennan: There is a four sheet set of architectural plans, dated November 6, 2023, prepared by 209 Design, which includes elevations of all four sides of the residential buildings, as well as floor plans.
130 | Douglas Little |  |  | The plans show 8 residential buildings but only 7 parking garages. | Garage | Applicant: There are 31 covered parking spaces on the plan | Brennan: There is adequate parking proposed on site for the units.
131 | Douglas Little |  |  | During meetings there has been discussion of truck traffic going over DPW property to Clay Pit Road. Has the DPW approved of the trucks using that property? If there are any fluids leaking from trucks on DPW property that contaminate the aquifer, the town could be held responsible for triple damages to clean it up. | Aquifer | Applicant: Access for truck traffic onto Clay Pit Road through the Town property has been secured by an agreement previously executed.
132 | Douglas Little |  |  | Trucks using the Clay Pit path will annoy the animals at the shelter and their barking will annoy residents. | Barking | Applicant: Currently there is significant truck traffic on Clay Pit Road.
133 | David Carriere |  |  | Asserts that §285-19 of Town Code requires companies not to use PFAS or exclude them from getting into soil. In fact, entities performing any “activities” in Zone 1 or Zone 2 of the Town aquifers are also required to provide the Superintendent, Water Division Supervisor, Town Engineer and Board of Health a complete list of substances that contain the chemicals or other products containing Polyfluoroalkyl Substances aka PFAS (includes PFOA, PFOS, GenX and other such chemicals) to be used. These “activities” shall include but are not limited to new construction, pole replacement, relocation, pole pesticide treatment, transformer repair, maintenance of underground services, fuel supply maintenance, construction and maintenance activities of any kind. Entities that perform work where the use of PFAS cannot be avoided are obligated to submit work plans to the Superintendent, Water Division Supervisor, Town Engineer, Planning Board and Board of Health that show how physical barriers, capture methods and/or other actions will be implemented to prevent PFAS from entering the soils and ground water of Zones 1 and 2. | PFAS | Applicant: We are requesting a waiver from this requirement. | Galvin: PFAS (polyfluoroalkyl substances) are widely used, long lasting chemicals, components of which break down very slowly over time. They are found in drinking water, near landfills, in fire extinguishing foams, used in manufacturing, located in consumer products including stain- or water-repellent, or non-stick products, paints, sealants, and some personal care products, food packaging, fertilizers, and fish and dairy products when fish or animals exposed to those products. Because of their widespread use and their persistence in the environment, many PFAS are found in the blood of people and animals all over the world and are present at low levels in a variety of food products and in the environment. Scientific studies have shown that exposure to some PFAS in the environment may be linked to harmful health effects in humans and animals. Because there are thousands of PFAS chemicals and they are found in many different consumer, commercial, and industrial products, it is challenging to study and assess the potential human health and environmental risks. (THIS IS FROM THE EPA WEBSITE)
134 | David Carriere |  |  | Asserts that bylaw is not intended to exclude 40B projects only help town fulfill its obligations to protect water resources. | Water/drainage |  | Galvin: In a 40B project, an applicant can request a waiver from this local bylaw on the basis that it does not apply to all projects equally or if the cost to comply would render the project uneconomic. The cost here would be to identify all the potential uses which the EPA says are in the thousands and then contain them which may be impossible to do at any reasonable cost.
135 | Bonnie Owens | cranbonnie@gmail.com | 2024-02-17 | Just learned that BPW will be paying over $100,000 for the hydrogeologist to assess the impact of the Bridle Crossing development. My questions are: has there been a hydro geological assessment of that property in the past? If not, where did the calculation come from on the amount of material that was approved to be removed? The bridle crossing site is 10acres, but isn’t the well mostly fed by approximately 1200 acres on Carolina Hill? | Hydrogeology/earth removal calculations/well | Applicant: There is a hydrogeologist report on file at the ZBA. The pending BPW analysis and report is concerning the impact of the landfill on the aquifer.
136 | Judith Crowley | crowleyjudy@aol.com | 2024-02-22 | Wondering if the special permit for the sand and gravel is granted to Peter Armstrong, the current owner of the 10 acre parcel, and the next day KS+BD sign the p&s, is Peter then out of the picture and Sealund+Dacey come in and hire their own construction guys like Landers with their big trucks or does Peter haul out the sand and gravel? I guess I'm asking, is S+D paying Peter to go away? Or, will he still be running the construction side of removing the sand and gravel? | Armstrong | Applicant: Peter Armstrong's role in this project going forward is as a seller only. Our development team will be handling all aspects of this project.
137 | Priscilla Maglio |  | 2024-02-27 | Concerned about native burial ground | Native/colonial history
138 | Eric Kelley | voice message | 2024-03-06 | Knows that the price of the property will be based on the number of approved units but he has not seen any Purchase & Sale information about the potential price. Looking over the Bridle Path housing permit and docs on file, noticed it does not have the required docs as stated below. A copy of evidence showing control of the property to be developed must be provided with this application. Under the impression this document was not included for some reason. Guessing there may be a monetary value that the parties do not want to be recorded. Is the board acting unlawfully in this process without this document? Would this void the permit and the process would have to start over? | Sale of property | Applicant: The required docs certifying that Armstrong is the seller and Sealund-Dacey are the buyers are on file at the ZBA.
139 | Mary Taylor | marytaylorart@gmail.com | 2024-03-07 | Have any Board members walked over the site of the proposed project. Asking because site is currently filled with all sorts of debris; wondering if there is a plan in place to remediate the site prior to building. | Site visit - Board
140 | Mary Taylor | marytaylorart@gmail.com | 2024-03-07 | Currently it is densely filled with demolition materials, plastics, pvc, bricks, mortar, docks, rusting metal trailers, piles of materials of unknown origins, metal, fiberglass, tree stumps, old tractor tires, sofas, air conditioner, numerous burn pits that have remains of burned plastics, what looks like pressure treated decking materials, bottles cans etc. Concerned that this material be cleaned up before any construction can happen on the property. Concerned about any leaching that may have occurred on this property since much of it is in an area where Mr. Armstrong lowered the elevation by excavated yards and yards of sand and gravel then filled in with all sorts of dumping. In August of 2023 a machine and a dumpster truck came to the site, the machine crushed 5 fiberglass boats and haphazardly dumped them into the truck, in that same timeframe a washer and dryer were removed, but what was left behind is a long list of junk. | Junk
141 | Mary Taylor | marytaylorart@gmail.com | 2024-03-07 | On December 15, 2016, I submitted a Request for Code Enforcement to the town of Marshfield for enforcement of Article 31 Keeping Junk Bylaw violation. I am not aware of any enforcement of our town Junk Bylaw. | Request for Enforcement 12-15-2016